## Slide 1: Outcomes of LSV-PPP

## Slide 2: Overview
1

## Slide 3: Battery Capacitance Utilization

## Slide 4: System Energy Efficiency

## Slide 5: Detailed Figures
2

## Slide 6: Battery Capacitance Utilization
We can see from the figure left that LS-HiPPP works much better than LSV-PPP and Full Processing when converters process relatively low power. When converter rating increases to 0.6 and higher, the battery energy utilization of LSV-PPP and LS-HiPPP are nearly 100%.

## Slide 7: System Energy Efficiency
We can see from the figure left that LS-HiPPP and LSV-PPP performs much better than Full Processing. When converter rating increases to 0.5, the system efficiency of LSV-PPP becomes higher than that of LS-HiPPP.
Analysis of reason: The total processed energy increases to the largest when single converter rating is 0.6 and decreases a little as converter rating increases. With larger converter rating, certain converts process more energy while others process less, which leads to less total processed energy.

## Slide 8: Update
3

## Slide 9: One layer comparison - Battery Utilization (unsorted vs sorted)
C-PPP is better for unsorted bat.
LSV-PPP doesn’t change.

## Slide 10: One layer comparison - System Efficiency (unsorted vs sorted)
LSV-PPP does not change much.
But efficiency drops a lot for C-PPP if bats are sorted.
Conclusion: C-PPP more suitable for unsorted bat.

## Slide 11: Two layer comparison - Battery Utilization (unsorted vs sorted)
1.When battery variation is small, Virtual Bus performs better. As variation increases, Hi-PPP is better.
2.Sorted batteries perform better for both architectures.

## Slide 12: Two layer comparison - System Efficiency (unsorted vs sorted)
1. Efficiency does not differ much for unsorted batteries while Virtual Bus performs a little better.
2.For sorted batteries, HiPPP is more suitable.

## Slide 13: At 20% power converter rating
heterogeneity |  | 25% |  |  |  | 50% |  |  | 
 |  | unsorted |  | sorted |  | unsorted |  | sorted | 
 |  | BU% | SE% | BU% | SE% | BU% | SE% | BU% | SE%
1-layer | CPPP | 89 | 98 | 79 | 96 | 68 | 96 | 50 | 93
 | VPPP | 82 | 97 | 81 | 97 | 53 | 95 | 54 | 95
2-layer | LS-HiPPP | 99 | 99 | 100 | 99 | 97 | 98 | 73 | 97
 | LSV-PPP | 99 | 99 | 100 | 99 | 95 | 98 | N/A | N/A
Summary:
25% unsorted choose-> 2-layer LS-HiPPP/LSV-PPP
Sorted choose-> 2-layer LS-HiPPP/LSV-PPP
50% unsorted choose-> 2-layer LS-HiPPP
Sorted choose-> 2-layer LS-HiPPP BU: battery utilization SE: system efficiency